## Sheet2
id | 0
Cool_Typ | ONAN | Cool_Typ | ONAN
Type | Distribution Transformer | Type | Distribution Transformer
Ins_Typ | Out Door | Ins_Typ | Out Door
Landmark | JAGANDA SIDE | Landmark | KHASPA ST
Neu_Earth | GI Wire | Neu_Earth | GI Flat
Pole_No | SEC12F020112 | Pole_No | SEC14F050138
Star_Rat | Unknown | Star_Rat | Unknown
Sub_Type | Oil Cooled | Sub_Type | Oil Cooled
Phase | AB | Phase | ABC
Consum_Typ | Others | Consum_Typ | Residential
Feed_Name | 11 kV Old Berhampur | Feed_Name | 11 kV Housing Board
Meter_ID | NA | Meter_ID
Metering | Unknown | Metering | LV Metering
Name | JAGANDA SIDE | Name | KHASPA ST.
DTR_Code | 014 | DTR_Code | 031
Owner_Name | Electric Utility-TPSODL | Owner_Name | Electric Utility-TPSODL
Owner_Type | Company Owned | Owner_Type | Company Owned
Remarks | Ok | Remarks | Ok
Srvy_Remrk | PLATE NOT AVAILABLE | Srvy_Remrk | Ok
Vector_Grp | Dyn11 | Vector_Grp | Dyn11
GIS_ID | SEC12F020112014 | GIS_ID | SEC14F050138031
Feed_Code | F02 | Feed_Code | F05
Make | Utkal Transformer | Make | UEPL
Serial_No | Unknown | Serial_No | 630/09
PSS_Code | SEC12 | PSS_Code | SEC14
Prim_Nom_V | 11.000 kV | Prim_Nom_V | 11.000 kV
Sec_Nom_Vt | 415.000 V | Sec_Nom_Vt | 415.000 V
HVSideProt | Isolator+Fuse | HVSideProt | Isolator+Fuse
LVSideProt | Fuse | LVSideProt | Fuse
Sub_Mounti | Pole | Sub_Mounti | Plinth
CondofTran | Good | CondofTran | Good
Core | Crgo | Core | Crgo
Lifecycle | Existing | Lifecycle | Existing
No_of_Outg | 1 | No_of_Outg | 5
LA_Provide | No | LA_Provide | Yes
Un_Migr_ID | SEC12F020112014 | Un_Migr_ID | SEC14F050138031
Vol_Clas_P | MV | Vol_Clas_P | MV
Vol_Clas_S | LV | Vol_Clas_S | LV
Opt_kVA | 16 | Opt_kVA | 630
Ngt_Status | Yes | Ngt_Status | Unknown
wkt_geom |  | wkt_geom
TotalLoss | 475 | TotalLoss
Total_Weig |  | Total_Weig
T_Rise_Oil | 0 | T_Rise_Oil | 0
Max_Tap | 0 | Max_Tap | 0
Date_Manuf | 2015 | Date_Manuf
Impedance | 0 | Impedance | 4.5
L_T_C__Ind | NA | L_T_C__Ind | Unknown
Min_Tap | 0 | Min_Tap | 0
T_C_N_Posi |  | T_C_N_Posi
Min_Step | 0 | Min_Step | 0
No_of_Taps | 0 | No_of_Taps | 0
Max_Step |  | Max_Step | 0
Weight_Oil | 0 | Weight_Oil | 0
Prim_Curr |  | Prim_Curr | 33.1
No_Steps | 0 | No_Steps | 0
Core_Windi |  | Core_Windi
Oil_Qty | 0 | Oil_Qty | 0
Tap_Ch_Typ | No Tap | Tap_Ch_Typ | Unknown
Adopt_Tap | 0 | Adopt_Tap | 0
NG_Typ | Resistance | NG_Typ | Resistance
M_T_R_Wind |  | M_T_R_Wind
T_C__P_Pos |  | T_C__P_Pos | Unknown
Dt_Of_Col | 06-03-2022 | Dt_Of_Col | 16/02/2022
NoLoadLoss | 0 | NoLoadLoss | 0
G_Div_Name | Bed-2 | G_Div_Name | Bed-2
G_Divi_Cod | 342 | G_Divi_Cod | 342
Date_U_B_G |  | Date_U_B_G
Oil_P_Syst | Yes | Oil_P_Syst | Unknown
HVDS | No | HVDS | No
C_Oil_P_Sy | Unknown | C_Oil_P_Sy | Unknown
Data_Cl_by | MMC | Data_Cl_by
Str_Mounti | Unknown | Str_Mounti | Unknown
Time_d_col |  | Time_d_col
Mounting | Overhead | Mounting | Overhead
Geo_Cir_Na | CITY | Geo_Cir_Na | CITY
Sec_Curr |  | Sec_Curr | 840
CopperLoss | 4400 | CopperLoss | 0
Specificat | 16 kVA-11/0.240kV | Specificat | 630 kVA-11/0.415kV
T_Loss_50 | 190 | T_Loss_100 | 0
T_Loss_100 | 635 | T_Loss_50 | 0
Wnd_Mat | Copper | Wnd_mat
MMC | 0
Enabled | 1

## Sheet3
Cool_Typ | Type | Ins_Typ | Landmark | Neu_Earth | Pole_No | Star_Rat | Sub_Type | Phase | Consum_Typ | Feed_Name | Meter_ID | Metering | Name | DTR_Code | Owner_Name | Owner_Type | Remarks | Srvy_Remrk | Vector_Grp | GIS_ID | Feed_Code | Make | Serial_No | PSS_Code | Prim_Nom_V | Sec_Nom_Vt | HVSideProt | LVSideProt | Sub_Mounti | CondofTran | Core | Lifecycle | No_of_Outg | LA_Provide | Un_Migr_ID | Vol_Clas_P | Vol_Clas_S | Opt_kVA | Ngt_Status | wkt_geom | TotalLoss | Total_Weig | T_Rise_Oil | Max_Tap | Date_Manuf | Impedance | L_T_C__Ind | Min_Tap | T_C_N_Posi | Min_Step | No_of_Taps | Max_Step | Weight_Oil | Prim_Curr | No_Steps | Core_Windi | Oil_Qty | Tap_Ch_Typ | Adopt_Tap | NG_Typ | M_T_R_Wind | T_C__P_Pos | Dt_Of_Col | NoLoadLoss | G_Div_Name | G_Divi_Cod | Date_U_B_G | Oil_P_Syst | HVDS | C_Oil_P_Sy | Data_Cl_by | Str_Mounti | Time_d_col | Mounting | Geo_Cir_Na | Sec_Curr | CopperLoss | Specificat | T_Loss_100 | T_Loss_50 | Wnd_mat
ONAN | Distribution Transformer | Out Door | KHASPA ST | GI Flat | SEC14F050138 | Unknown | Oil Cooled | ABC | Residential | 11 kV Housing Board |  | LV Metering | KHASPA ST. | 031 | Electric Utility-TPSODL | Company Owned | Ok | Ok | Dyn11 | SEC14F050138031 | F05 | UEPL | 630/09 | SEC14 | 11.000 kV | 415.000 V | Isolator+Fuse | Fuse | Plinth | Good | Crgo | Existing | 5 | Yes | SEC14F050138031 | MV | LV | 630 | Unknown |  |  |  | 0 | 0 |  | 4.5 | Unknown | 0 |  | 0 | 0 | 0 | 0 | 33.1 | 0 |  | 0 | Unknown | 0 | Resistance |  | Unknown | 16/02/2022 | 0 | Bed-2 | 342 |  | Unknown | No | Unknown |  | Unknown |  | Overhead | CITY | 840 | 0 | 630 kVA-11/0.415kV | 0 | 0